# STANDARD SPECIFICATIONS

Single function shower head

- 2.5gpm flow rate

- 8” round shower head

- 14” long arm

# FINISHES INCLUDE

- Chrome (UF91000)

- Brushed nickel (UF91003)

# WARRANTY

- Limited lifetime warranty on workmanship and materials to the original purchaser

# COMPLIES WITH

- ANSI/ASME A112.18.1

- CSA B125-1

IAPMO/UPC/CUPC